## NEW Summary
Only measuring using my heater (because it provided 3 consistent measuring points across phases)
Flukso - benchmark | Watt (avg) | Flukso R (Set to @236V / 50A) | Flukso S (Set to @236V / 50A) | Flukso T (Set to @236V / 50A)
Fan only | 19W | 0% | 36.84% | -163.2%
Eco mode | 1168W | 11.19% | 11.19% | 7.686%
Normal mode | 2273W | 10.39% | 10.48% | 9.739%

## Bad - Summary
Only measuring using my heater (because it provided 3 consistent measuring points across phases)
Flukso - benchmark | Watt (avg) | Flukso R (Set to @383V / 50A) | Flukso S (Set to @275V / 50A) | Flukso T (Set to @455V / 50A!)
Fan only | 19W |  | -92% | -68%
Eco mode | 1168W | 2% | -15% | -7%
Normal mode | 2273W | 17% | -8% | 7%

## Bad - Phase R
Kring Zx = fase R (kamer achterlinks binnenmuur) - Set to @383V / 50A
|  | Plugwise | Flukso - measured | Deviation | Flukso - baseline | Flukso | Notes
| 0:10 | 295 | 849 | 187.8% | 1 | 850 | Philips FC9171 Vacuum (2200) - lowest
| 0:03 | 1166 | 1232 | 5.66% | 3 | 1235 | Calor Balinea 2400W (something on T at 75W now, unrelated to R)
| 0:07 | 1171 | 1147 | -2.05% | 3 | 1150 | Calor Balinea 2400W (something on T at 75W now, unrelated to R)
| 0:07 | 2300 | 2690 | 16.96% | 0 | 2690 | Calor Balinea 2400W (something on T at 75W now, unrelated to R)

## Bad - Phase S
Kring Q2 = fase S (hoek met driehoekig tafeltje en Chumby) - Set to @275V / 50A | [7 empty] | Note: updated S voltage to 414V on 16/1 0:00 (logging of flukso config files also implemented to keep track of changes like this)
|  | Plugwise | Flukso - measured | Deviation | Flukso - baseline | Flukso | Notes
| 23:47 | 10 | 3 | -70% | 0 | 3 | Chumby8 (10W)
| 23:39 | 19 | 1.5 | -92.11% | 0 | 1.5 | Calor Balinea 2400W
| 23:44 | 19 | 1.5 | -92.11% | 0 | 1.5 | Calor Balinea 2400W
| 23:46 | 29 | 5 | -82.76% | 0 | 5 | Calor Balinea + Chumby8 (10W)
| 23:43 | 1170 | 992 | -15.21% | 0 | 992 | Calor Balinea 2400W
| 23:40 | 1173 | 993 | -15.35% | 0 | 993 | Calor Balinea 2400W
| 23:42 | 2261 | 2093 | -7.43% | 0 | 2093 | Calor Balinea 2400W
| 23:42 | 2277 | 2094 | -8.037% | 0 | 2094 | Calor Balinea 2400W
| 23:52 | 277 | 757 | 173.3% | 3 | 760 | Philips FC9171 Vacuum (2200) - lowest
| 23:53 | 345 | 832 | 141.2% | 3 | 835 | Philips FC9171 Vacuum (2200) - 3rd lowest
| 23:57 | 120 | 0 | -100% | 0 | 0 | 2x60W light bulbs turned ON
| 0:17 | 100 | 0 | -100% | 0 | 0 | 1x100W incandescent tube light
Note on C13: Not measured with Plugwise - just lamp rating
Note on C14: Not measured with Plugwise - just lamp rating

## Bad - Phase T
Kring M2 = fase T (hoek living met lamp) - Set to @455V / 50A!
|  | Plugwise | Flukso - measured | Deviation | Flukso - baseline | Flukso
| 23:16 | 19 | 9 | -52.63% | 95 | 104 | Calor Balinea 2400W
| 23:17 | 19 | 3 | -84.21% | 92 | 95 | Calor Balinea 2400W
| 23:19 | 1160 | 1093 | -5.776% | 80 | 1173 | Calor Balinea 2400W
|  | 1165 | 1086 | -6.781% | 90 | 1176 | Calor Balinea 2400W
|  | 1171 | 1039 |  |  | 1039 | Calor Balinea 2400W
| 23:18 | 1175 | 1084 | -7.745% | 90 | 1174 | Calor Balinea 2400W
| 23:20 | 2258 | 2655 | 17.58% | 75 | 2730 | Calor Balinea 2400W
| 23:12 | 2265 | 2125 | -6.181% | 110 | 2235 | Calor Balinea 2400W
| 23:24 | 2276 | 2528 | 11.07% | 88 | 2616 | Calor Balinea 2400W

## NEW - Phase R
Kring Zx = fase R (kamer achterlinks binnenmuur) - Set to @236V / 50A
|  | Plugwise | Flukso - measured | Deviation | Flukso - baseline | Flukso | Notes
Philips FC9171 Vacuum (2200) - lowest
2014-01-24 | 10:30 | 19 | 19 | 0% | 33 | 52 | Calor Balinea 2400W - fan
2014-01-24 | 10:31 | 1171 | 1302 | 11.19% | 33 | 1335 | Calor Balinea 2400W - eco
2014-01-24 | 10:32 | 2300 | 2539 | 10.39% | 33 | 2572 | Calor Balinea 2400W - warm

## NEW - Phase S
Kring Q2 = fase S (hoek met driehoekig tafeltje en Chumby) - Set to @236V / 50A | [7 empty] | Note: updated S voltage to 414V on 16/1 0:00 (logging of flukso config files also implemented to keep track of changes like this)
|  | Plugwise | Flukso - measured | Deviation | Flukso - baseline | Flukso | Notes
2014-01-24 | 10:30 | 19 | 26 | 36.84% | 38 | 64 | Calor Balinea 2400W
2014-01-24 | 10:31 | 1171 | 1302 | 11.19% | 38 | 1340 | Calor Balinea 2400W
2014-01-24 | 10:32 | 2300 | 2541 | 10.48% | 38 | 2579 | Calor Balinea + Chumby8 (10W)

## NEW Phase T
Kring M2 = fase T (hoek living met lamp) - Set to @236V / 50A
|  | Plugwise | Flukso - measured | Deviation | Flukso - baseline | Flukso
2014-01-24 | 10:30 | 19 | -12 | -163.2% | 112 | 100 | Calor Balinea 2400W
2014-01-24 | 10:31 | 1171 | 1261 | 7.686% | 112 | 1373 | Calor Balinea 2400W
2014-01-24 | 10:32 | 2300 | 2524 | 9.739% | 112 | 2636 | Calor Balinea 2400W